## inquiry
Pure water system project inquiry form
Client: |  |  | Date(mm/dd/yy)
Water source | ☐ | City | ☐ | River
| ☐ | Well | ☐ | Sea
| ☐ | Others (describe)
Feed water analysis
Component |  | Component |  | Unit
Turbidity |  |  |  | NTU
Temperature |  |  |  | Celsius
pH
Conductivity |  |  |  | uS/cm @ 25°C
Total hardness |  |  |  | ppm as CaCO3
Alkalinity |  |  |  | ppm as CaCO3
Sodium (Na) |  | Chloride (Cl) |  | ppm as ion
Potassium (K) |  | Sulfate (SO4) |  | ppm as ion
Calcium (Ca) |  | Nitrate (NO3) |  | ppm as ion
Magneesium (Mg) |  | Ammonium (NH4) |  | ppm as ion
Strontium (Sr) |  | Floride (F) |  | ppm as ion
Barium (Ba) |  | Silica (SiO2) |  | ppm as ion
Iron (Fe) |  |  |  | ppm as ion
Manganese (Mn) |  |  |  | ppm as ion
Product water specification
Productivity |  |  |  | m3/hr
pH
Conductivity |  |  |  | uS/cm @ 25°C
Resistivity |  |  |  | M.ohm-cm @ 25°C
SiO2 |  |  |  | ppb
TOC |  |  |  | ppb
Bacteria |  |  |  | CFU/ml
Particle |  |  |  | pcs/ml @ um
Others (describe)
Electric power | ☐ | 480V | ☐ | 50 Hz
| ☐ | 380V | ☐ | 60 Hz